[image: image1.png]




      

  Queen                                                         

  Anne’s                                                  

  County
                                                     

Department of planning & zoning  

110 Vincit Street, Suite 104
Centreville, MD 21617

Telephone Planning: (410) 758-1255

Fax Planning: (410) 758-2905

Telephone Permits: (410) 758-4088

Fax Permits: (410) 758-3972

MOBILE HOME INSTALLATION GUIDELINES


In accordance with the BOCA Code, all mobile homes shall be anchored and tied 

down.  The following are guidelines which meet BOCA requirements, however, they are

minimum requirements and should not be considered to guarantee engineering 

performance.

FOUNDATIONS:
One of the following type foundations shall be used for all




mobile homes.  In some cases the Planning Officer may approve




an alternate foundation plan if he feels it will be equal in quality




and performance to one of  these types.

1. SLAB -  A reinforced concrete slab may be used.  Minimum reinforcing shall be standard 6 inch x 6 inch welded wire fabric.  The slab shall be placed on a firm gravel base and shall be built up or thickened at the edge to prevent frost damage.  (See Sketch A).

2. FOOTINGS – A reinforced concrete or block and mortar 

footing and pier may be used.  The footing shall be a minimum of  24 inches in the ground and a minimum of  24 inches x 24 inches and a minimum of 8 inches thick.  The Pier shall be a minimum of 8 inches x 24 inches.  The footing shall be placed on a firm undisturbed earth base.  

3. FOUNDATION WALL – A foundation wall may be used for 

continuous support around a mobile home.  Such a wall may be reinforced concrete or block and mortar and shall be placed on a continuous footing 8 inches wider than the block being used, with a minimum of 8 inches block to be used, and a minimum of 24 inches in the ground.  The footing shall be placed on a firm undisturbed earth base.  (See footing detail).





1

                         TDD:410-758-2126

ANCHORAGE:  
One of the following anchorage requirements shall be used with the appropriate foundation.

1. WITH SLAB – The structure shall be fastened to the slab by means of anchored fasteners in the concrete.  (See  Sketch A).

2. WITH FOOTINGS OR WALLS – With reinforced concrete the structure may be fastened to anchored fasteners in the pier, foundation wall or footings.  With a block and mortar pier or wall the fasteners must be anchored in the footing and not to the pier or wall alone.

3. BURIED ANCHORS – 

a. Screw Anchors- 4 inch anchors set at least a minimum of 2 feet in form earth may be used.

b. Concrete – 24 inch square by 6 inch thick poured 

concrete with no less than 16 inches of compacted earth, with embedded anchors may be used.  (See Sketch B)

4. ALL MOBILE HOMES must be secured by approved 


anchor straps.  Such straps (2) shall encompass the entire width of the mobile home with said straps attached to anchors in the forestated manner.


In any case, a minimum of 4 anchors per trailer must be used for mobile homes up to 50 feet in length and a minimum of 6 anchors per trailer must be used for mobile homes over 50 feet in length.  Except in a trailer park or on a farm skirting shall be required.  Skirts shall extend from the ground to the main body of the home and shall be securely fastened to leave no gaps or loose areas.  At least one section of the skirt shall be easily removable for required inspections under the mobile home built on a continuous wall foundation.

                               2

Updated 5/17/11


